GRF-1300 Specifications

The specifications apply when the GRF-1300 is powered on for at least 30 minutes under +20°C~+30°C.

| Function | Item | Specification |
| --- | --- | --- |
| Base Band | Waveforms | Sine, Square, Triangle |
|  | Frequency Range | 0.1~3MHz Step: 10kHz |
|  | Amplitude | ≧1.5Vpp |
|  | Harmonics Distortion | ≦-30dBc |
| RF/FM Generator | Frequency Accuracy | ±0.15MHz |
|  | Adjustable Range | ≧45MHz (870M ~ 920MHz) Step: 1MHz |
|  | Power Range | ≧-15dBm |
| FM | Max Frequency Deviation | >3MHz |
| AM | Peak Difference | ≧-18dBm |
| Interface |  | USB Device |
| Dimensions & Weight |  | 165(W)*155(H)*90(D)mm, 1.2kg |