GRF-1300A Specifications

The specifications apply when the GRF-1300A is powered on for at least 30 minutes under +20°C~+30°C.

| Function | Item | Specification |
| --- | --- | --- |
| Base Band | Waveforms | Sine, Square, Triangle |
|  | Frequency Range | 0.1~3MHz , Step : 10kHz |
|  | Amplitude | ≧1.5Vpp ≧0.75Vpp into 50 Ohm |
|  | Harmonic Distortion | ≦-30dBc |
| RF / FM Analysis | Frequency Accuracy | ±0.15MHz |
|  | Adjustable Range | ≧45MHz (870M ~ 920MHz) , Step : 1MHz |
|  | Power Range | ≧-15dBm |
| FM | Max Frequency Deviation | >3MHz |
| AM | Peak Difference | ≧-18dBm |
| Mixer | LO + IF LO - IF | ≧-35dBm ≧-35dBm |
| Mixer + modulation |  | ≧-60dBm |
| Bandpass Filter | Frequency Centre: 2.4GHz | Bandwidth: ±20MHz |
| Interface | USB Device | USB Type B |
| Dimensions & Weight | 165(W)*155(H)*90(D)mm, Approx. 1.2kg |  |